## Sheet1
Item # | Abbrv. | System Component | Manufacturer | Model | Serial # | HP | Location | Filter | Remarks | Maint. Schedule | Error Messages
1 | ACU-1 | Air Cooled Condensing Unit-1 | Daikin | RDT061D |  |  | Rooftop | 7-16x20x2 21-16x25x2 | Installed Oct 2016 - Under Warranty | Quarterly
2 | ACU-2 | Air Cooled Condensing Unit-2 | Trane | TTRO18C100A |  | ? | Garage Mezzanine Area | None | Installed 1996 - seldom in operation | Yearly
3 | EF-1 | Exhaust Fan 1 | Trane | 54 Q-Fan |  | 5 HP | Parking Garage | None | 1996 Fan with new Controls | Twice a Year
4 | EF-2 | Exhaust Fan 2 | Greenheck | SFB 10 |  | .25 HP | Above Penthouse Boiler Room - serves all 1 & 2 floor restrooms | None | 1996 era | Twice a Year
5 | EF-3 | Exhaust Fan 3 | Nederman | N16 |  | .5 HP | Parking Garage Vehicle Hose | None | Seldom used | Yearly
6 | EF-4 | Exhaust Fan 4 | Nederman | N16 |  | .5 HP | Parking Garage Vehicle Hose | None | Seldom used | Yearly
7 | EF-5 | Exhaust Fan 5 | Greenheck | SP-210 |  | .5 HP | Janitor Closet - Room 124A | None | 1996 era | Twice a Year
8 | EF-6 | Exhaust Fan 6 | Greenheck | CSP-252 |  | .5 HP | Basement-Elevator Mechanical Room 1 | None | Under Public elevator East side of basement parking garage - 1996 era | Twice a Year
9 | EF-7 | Exhaust Fan 7 | Greenheck | CSP-252 |  | .5 HP | Basement-Elevator Mechanical Room 2 | None | Under Service elevator West side of basement parking garage - 1996 era | Twice a Year
10 | EF-8 | Exhaust Fan 8 | Cook | 165SQN10D |  | .5 HP | In hall by Room 124 - exhaust for 2nd floor stacks | None | Installed July 2016 - Under Warranty | Twice a Year
11 | FCU 1 | Fan Coil Unit-1 | Trane | TEC3F36 |  |  | 2nd Floor Stacks | 4-16x20x2 | Installed July 2016 - Under Warranty | Quarterly
12 | FCU-2 | Fan Coil Unit-2 | Trane | TWHO18B140A |  | 0.125 | In hall outside room 121A | Yes | Installed in 1996 - seldom in operation - used as backup when main AC is shut down | Yearly
13 | FPB 1 | Fan Powered Box 1 | Tuttle and Bailey |  |  | 0.75 | 106E | 24x20x1 | 1st Floor - 1996 era | Twice a Year
14 | FPB 2 | Fan Powered Box 2 | Tuttle and Bailey |  |  | 0.33333 | Outside 106M | 17x17x1 | 1st Floor - 1996 era | Twice a Year
15 | FPB 3 | Fan Powered Box 3 | Tuttle and Bailey |  |  | 0.1 | Outside 106M | 16x14x1 | 1st Floor - 1996 era | Twice a Year | Secondary Heating inoperable
16 | FPB 4 | Fan Powered Box 4 | Tuttle and Bailey |  |  | 0.33333 | Stacks 105A | 17x17x1 | 1st Floor - 1996 era | Twice a Year | Secondary Heating inoperable
17 | FPB 5 | Fan Powered Box 5 | Tuttle and Bailey |  |  | 0.5 | Stacks 105A | 17x17x1 | 1st Floor - 1996 era | Twice a Year | Fan inoperable, Secondary Heating inoperable
18 | FPB 6 | Fan Powered Box 6 | Tuttle and Bailey |  |  | 0.1 | Open Area 106 | 16x14x1 | 1st Floor - 1996 era | Twice a Year
19 | FPB 7 | Fan Powered Box 7 | Tuttle and Bailey |  |  | 0.5 | Open Area 106 | 17x17x1 | 1st Floor - 1996 era | Twice a Year | No fan, Secondary Heating inoperable
20 | FPB 8 | Fan Powered Box 8 | Tuttle and Bailey |  |  | 0.1 | Open Area 106 | 16x14x1 | 1st Floor - 1996 era | Twice a Year
21 | FPB 9 | Fan Powered Box 9 | Tuttle and Bailey |  |  | 0.1 | Hall Area 107 | 16x14x1 | 1st Floor - 1996 era | Twice a Year
22 | FPB 10 | Fan Powered Box 10 | Tuttle and Bailey |  |  | 0.1 | Above main entry desk 102 | 16x14x1 | 1st Floor - 1996 era | Twice a Year | Fan inoperable
23 | FPB 11 | Fan Powered Box 11 | Tuttle and Bailey |  |  | 0.25 | Near Conf Room Door 102 | 16x14x1 | 1st Floor - 1996 era | Twice a Year | Secondary Heating inoperable
24 | FPB 12 | Fan Powered Box 12 | Tuttle and Bailey |  |  | 0.5 | Main Lobby 102 | 17x17x1 | 1st Floor - 1996 era | Twice a Year
25 | FPB 13 | Fan Powered Box 13 | Tuttle and Bailey |  |  | 0.33333 | Above Main Door 102 | 17x17x1 | 1st Floor - 1996 era | Twice a Year | Secondary Heating inoperable
26 | FPB 14 | Fan Powered Box 14 | Tuttle and Bailey |  |  | 0.5 | Conf Room 119A | 17x17x1 | 1st Floor - 1996 era | Twice a Year | Secondary Heating inoperable
27 | FPB 15 | Fan Powered Box 15 | Tuttle and Bailey |  |  | 0.25 | Break Room 119B | 16x14x1 | 1st Floor - 1996 era | Twice a Year
28 | FPB 16 | Fan Powered Box 16 | Tuttle and Bailey |  |  | 0.5 | Break Room 119B | 17x17x1 | 1st Floor - 1996 era | Twice a Year | Secondary Heating inoperable
29 | FPB 17 | Fan Powered Box 17 | Tuttle and Bailey |  |  | 0.1 | Hall N of 121A | 16x14x1 | 1st Floor - 1996 era | Twice a Year
30 | FPB 18 | Fan Powered Box 18 | Tuttle and Bailey |  |  | 0.25 | Hall 121 | 16x14x1 | 1st Floor - 1996 era | Twice a Year | Secondary Heating inoperable
31 | FPB 19 | Fan Powered Box 19 | Tuttle and Bailey |  |  | 0.1 | Hall Outside 114B | 16x14x1 | 1st Floor - 1996 era | Twice a Year
32 | FPB 20 | Fan Powered Box 20 | Tuttle and Bailey |  |  | 0.25 | Hall 113 | 16x14x1 | 1st Floor - 1996 era | Twice a Year | Secondary Heating inoperable
33 | FPB 21 | Fan Powered Box 21 | Tuttle and Bailey |  |  | 0.25 | Hall 113 | 16x14x1 | 1st Floor - 1996 era | Twice a Year | Secondary Heating inoperable
34 | FPB 22 | Fan Powered Box 22 | Tuttle and Bailey |  |  | 0.1 | Room 112A N | 16x14x1 | 1st Floor - 1996 era | Twice a Year | Secondary Heating inoperable
35 | FPB 23 | Fan Powered Box 23 | Tuttle and Bailey |  |  | 0.25 | Room 112A S | 16x14x1 | 1st Floor - 1996 era | Twice a Year
36 | FPB 24 | Fan Powered Box 24 | Tuttle and Bailey |  |  | 0.33333 | N End of 111 | 17x17x1 | 1st Floor - 1996 era | Twice a Year
37 | FPB 25 | Fan Powered Box 25 | Tuttle and Bailey |  |  | 0.1 | Men's Restroom 103A | 16x14x1 | 1st Floor - 1996 era | Twice a Year
38 | FPB 26 | Fan Powered Box 26 | Tuttle and Bailey |  |  | 0.75 | 206 E of door to 207 | 24x20x1 | 2nd Floor - 1996 era | Twice a Year
39 | FPB 27 | Fan Powered Box 27 | Tuttle and Bailey |  |  | 0.75 | 206 outside 204 | 24x20x1 | 2nd Floor - 1996 era | Twice a Year
40 | FPB 28 | Fan Powered Box 28 | Tuttle and Bailey |  |  | 0.33333 | 206 W of entry to 203 | 17x17x1 | 2nd Floor - 1996 era | Twice a Year | Secondary Heating inoperable
41 | FPB 29 | Fan Powered Box 29 | Tuttle and Bailey |  |  | 0.25 | 206 near 202 | 16x14x1 | 2nd Floor - 1996 era | Twice a Year
42 | FPB 30 | Fan Powered Box 30 | Tuttle and Bailey |  |  | 0.33333 | 206 outside 205 | 17x17x1 | 2nd Floor - 1996 era | Twice a Year | Fan Inoperable
43 | FPB 31 | Fan Powered Box 31 | ? |  |  | ? | Above room 106G | ? | 2003 addition - Server Rm | Twice a Year | Unsure of exact location
44 | FTU-1 | Fan Terminal Unit 1 | Titus | DTFS |  |  | 1st Floor Stacks | 1-19x19x1 | Installed July 2016 - Under Warranty | Quarterly
45 | FTU-2 | Fan Terminal Unit 2 | Titus | DTFS |  |  | 1st Floor Stacks | 1-19x19x1 | Installed July 2016 - Under Warranty | Quarterly
46 | FTU-3 | Fan Terminal Unit 3 | Titus | DTFS |  |  | 1st Floor Stacks | 1-19x19x1 | Installed July 2016 - Under Warranty | Quarterly
47 | HP-1 | Heat Pump | Daikin | DZ11SA0903A | 1512251156 | 1 HP | Rooftop |  | Installed July 2016 - Under Warranty | Quarterly
48 | HWB 1 | Hot Water Boiler - Natural Gas | Ray Pak | H3-1336A-CE-CRCAA | 9702137644 | 32 Bir HP | Boiler Room - Penthouse | None | 1996 era | Yearly
49 | HWP 1 | Hot Water Pump 1 | Armstrong | 4030 |  | 1.5 HP | Boiler Room - Penthouse | None | Part of Boiler | Yearly
50 | HWP 2 | Hot Water Pump 2 | Armstrong | 4030 |  | 1.5 HP | Boiler Room - Penthouse | None | Part of Boiler | Yearly
51 | HWP 3 | Hot Water Recirculating Pump | Armstrong | SSB-30B |  | ? | Boiler Room - Penthouse | None | Part of Electric HW Heater | Yearly
52 | SS1 | Split System Unit 1 |  |  |  | ? | 106G IT Server Room | Yes | Installed 2003 | Quarterly
53 | SS2 | Split System Unit 2 |  |  |  | ? | 106G IT Server Room | Yes | Installed 2003 | Quarterly
54 | UH 1 | Unit Heater 1 with Supply Fan Motor | Modine | HS 165 |  | 1/3 HP | 1st Floor Stacks | None | Back-up Use Only | Yearly
55 | UH 2 | Unit Heater 2 with Supply Fan Motor | Modine | HS 165 |  | 1/3 HP | 1st Floor Stacks | None | Back-up Use Only | Yearly
56 | UH 3 | Unit Heater 3 with Supply Fan Motor | Modine | HS 165 |  | 1/3 HP | 1st Floor Stacks | None | Back-up Use Only | Yearly
57 | UH 4 | Unit Heater 4 with Supply Fan Motor | Modine | HS 165 |  | 1/3 HP | 1st Floor Stacks | None | Back-up Use Only | Yearly
58 | UH 5 | Unit Heater 5 with Supply Fan Motor | Modine | HS 47 |  | 1/12 HP | 2nd Floor Stacks | None | Back-up Use Only | Yearly
59 | UH 6 | Unit Heater 6 with Supply Fan Motor | Modine | HS 47 |  | 1/12 HP | 2nd Floor Stacks | None | Back-up Use Only | Yearly
60 | UH 7 | Unit Heater 7 with Supply Fan Motor | Modine | HS 47 |  | 1/12 HP | 2nd Floor Stacks | None | Back-up Use Only | Yearly
61 | UH 8 | Unit Heater 8 with Supply Fan Motor | Modine | HS 47 |  | 1/12 HP | 2nd Floor Stacks | None | Back-up Use Only | Yearly